## Slide 1: Power Barometer 2022 - Draft

## Slide 2: Setting the scene Energy prices soured this year The cause of this rise was the high gas price as we recovered from covid with demand particularly putting up in Asia. The price rise began in September but the war in Ukraine has greatly exacerbated the situation The unreliability of Russia as a gas supplier, further incentivises the need to diversify our energy sources as much as possible. It should act as the catalyst to electrify and reduce our fossil fuel dependence in the process
2

## Slide 3: Outline
We are going to look at the following:
Key developments in the past year
Power sector decarbonisation
State of Play of electrification
Technology costs and bottleneck issues
The Regulatory Framework
And our finally, our Recommendations
3

## Slide 4: 1. The year in a Nutshell
4

## Slide 5: Inflation rose after covid recovery but energy prices and Russian war worsened it
Source: Council of the EU based on Eurostat for the energy prices; Eurostat for inflation, The Economist
Chart: Evolution of energy prices in the EU-27 (average index with 2015 = 100)
| 44166 | 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531
Consumer Prices for electricity,gas and other fuels | 101.04 | 104.05 | 103.62 | 105.21 | 106.17 | 106.69 | 107.92 | 109.83 | 111.24 | 113.3 | 120.16 | 123.94 | 126.75
Domestic industrial producer prices for energy | 100.1 | 104.6 | 105 | 107.1 | 108.4 | 110.7 | 114.5 | 122.2 | 124.6 | 134.2 | 156.7 | 162.3 | 173.6
Import Prices for energy | 83.9 | 91.6 | 100.4 | 104.4 | 105.5 | 111.5 | 119 | 128.7 | 131.8 | 143.1 | 170 | 180.6 | 180.8
Inflation has been on a rise after recovery from covid crisis. Rising energy prices and Russian invasion of Ukraine exacerbated it with inflation reaching 9.8 % in July 2022. The high energy prices cause about a third of the inflation
Chart: EU-27's inflation with its energy component
| 2020-01 | 2020-02 | 2020-03 | 2020-04 | 2020-05 | 2020-06 | 2020-07 | 2020-08 | 2020-09 | 2020-10 | 2020-11 | 2020-12 | 2021-01 | 2021-02 | 2021-03 | 2021-04 | 2021-05 | 2021-06 | 2021-07 | 2021-08 | 2021-09 | 2021-10 | 2021-11 | 2021-12 | 2022-01 | 2022-02 | 2022-03 | 2022-04 | 2022-05 | 2022-06 | 2022-07
Annual inflation | 1.7 | 1.6 | 1.2 | 0.7 | 0.6 | 0.8 | 0.9 | 0.4 | 0.3 | 0.3 | 0.2 | 0.3 | 1.2 | 1.3 | 1.7 | 2 | 2.3 | 2.2 | 2.5 | 3.2 | 3.6 | 4.4 | 5.2 | 5.3 | 5.6 | 6.2 | 7.8 | 8.1 | 8.8 | 9.6 | 9.8
Energy component | 2.2 | 0.1 | -3.8 | -9.1 | -11.2 | -8.6 | -7.7 | -7 | -7.2 | -7.3 | -7.5 | -6.2 | -3.5 | -1.1 | 4.5 | 10.5 | 12.9 | 12.2 | 14 | 14.9 | 16.8 | 22.6 | 25.9 | 24.6 | 27 | 28.7 | 40.2 | 35.6 | 37.7 | 41.1 | 38.3

## Slide 6: Wholesale electricity prices started soaring in H2 2021
Source: Eurelectric based on day-ahead electricity price data from ENTSO-E transparency platform
405 Eur/Mwh
64 Eur/MWh
+532 %
2020 average
Jan 2021
135 Eur/MWh
Aug 2022
34 Eur/MWh
Sept 2021
81 Eur/MWh
June 2021
The EU average day ahead electricity price which remained as low as 34 Eur/MWh in 2020 rose by 532 % during Jan 2021-Aug 2022

## Slide 7: Retail electricity prices rose by 8.2 % during 2020-2021
Chart: EU average retail prices for medium sized households (Eur/MWh)
| 2010 | 2012 | 2014 | 2016 | 2017 | 2019 | 2020 | 2021
 | 175.67 | 197.29 | 205.4 | 204 | 206.75 | 213.5 | 213.6 | 231.4
Due to fixed term contracts, retail electricity prices didn’t follow the trend of skyrocketed wholesale prices
Data of medium sized households shows an average rise of 8.2 % in the household electricity prices during 2020-2021
However, new contracts in the EU’s capital cities show a 84 % price rise from Jan 2021 to June 2022
Eurelectric recommends MS s to follow the EC Toolbox Guidelines and adopt targeted support measures coupled (energy vouchers, VAT reduction, etc…) with energy efficiency incentives to mitigate impact of the energy price surge on customers
Source: Eurostat (nrg_pc_204) for 2020-2021 data, Household Energy Price Index for 2022 data of capital cities

## Slide 8: High gas prices have resulted in high electricity prices
Electricity prices followed the fundamentals. Countries with gas as price setter saw the most rise in electricity prices. This root cause which is the high gas prices should be tackled before any distortive market interventions.
CO2 prices have had a much smaller impact on electricity prices compared to gas. Gas prices have had 7 times to impact on electricity prices compared to CO2
Note: The electricity prices shown are the monthly average day-ahead electricity prices. The gas cost and CO2 cost were calculated by using ttf gas prices, EU ETS prices, power plant efficiency 55 % and an emission factor of 0.37 tCO2/MWh
Source: Eurelectric’s calculation based on day-ahead electricity prices from ENTSO-E transparency platform, Ember-Climate for CO2 price
Chart: EU average: Gas Price effect on electricity prices
| 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652
CO2 cost | 12.4085 | 14.0454 | 15.1536 | 16.7245 | 19.3362 | 19.5801 | 19.756 | 20.9634 | 22.684 | 22.0085 | 24.4629 | 29.5894 | 31.2994 | 33.7372 | 27.7564 | 29.4466
gas cost | 37.1656 | 31.6651 | 31.9352 | 37.0797 | 45.4873 | 53.0339 | 65.49 | 81.2983 | 121.5247 | 166.0605 | 150.1247 | 209.0783 | 154.9855 | 148.852 | 238.6804 | 184.5811
Average Day Ahead Electricity price | 63.7038 | 57.948 | 58.4878 | 65.9765 | 67.5597 | 81.6932 | 91.1836 | 98.1104 | 134.776 | 160.265 | 179.7882 | 229.4845 | 174.8291 | 153.719 | 234.7207 | 172.5291

## Slide 9
Chart: Sweden1 Bidding Zone: Gas Price effect on electricity prices (Eur/MWh)
| Jan-21 | Feb-21 | Mar-21 | Apr-21 | May-21 | Jun-21 | Jul-21 | Aug-21 | Sep-21 | Oct-21 | Nov-21 | Dec-21 | Jan-21 | Feb-21 | Mar
CO2 cost | 12.4085 | 14.0454 | 15.1536 | 16.7245 | 19.3362 | 19.5801 | 19.756 | 20.9634 | 22.684 | 22.0085 | 24.4629 | 29.5894 | 31.2994 | 33.7372 | 27.7564
gas cost | 37.1656 | 31.6651 | 31.9352 | 37.0797 | 45.4873 | 53.0339 | 65.49 | 81.2983 | 121.5247 | 166.0605 | 150.1247 | 209.0783 | 154.9855 | 148.852 | 238.6804
Electricity price | 44.6491 | 43.2528 | 25.0256 | 26.4425 | 38.3849 | 34.4214 | 50.9319 | 57.5471 | 55.5048 | 25.5883 | 43.0399 | 65.7489 | 28.0834 | 24.5049 | 16.9503
Source: Eurelectric’s calculation based on ENTSO-E data for prices, Ember-Climate for CO2 price
Bidding Zones with lower gas influence in price setting witnessed lower electricity prices

## Slide 10: EU relies heavily on fossil fuel imports for its energy
Chart: EU-27's share of fuels in final energy consumption (2020)
Source: Eurelectric based on Eurostat
Natural gas & Oil & Petroleum contributes to 57% to EU’s final energy consumption of which more than 90 % is imported with Russia being the leading supplier
46 % from Russia
23 % from Russia
Electricity contributed to 23 % of EU-27’s final energy consumption
Chart: EU-27's share of fuels in final energy consumption (2020)
| Natural Gas | Oil & petroleum | Renewables and biofuels | Electricity | Heat | Other fuels n.e.c. | Solid fossil fuels
2020 | 21.89 | 35.03 | 11.77 | 23.15 | 4.97 | 1.05 | 2.14

## Slide 11: Clean electrification can replace majority of the oil and gas
57 % of gas consumed in buildings and industries sector majorly for space heating, hot water and process heating can be replaced with electricity based technologies like heat pumps, electric arc furnace
63 % of oil in the EU is consumed in transport sector with 48 % in the road transport. E-Mobility has huge potential to replace this oil.
Source: Eurostat (nrg_cb_oil) for oil consumption, Eurostat energy balance for gas consumption
Chart: 
| Industry | Electricity | Buildings | Transport | Other
EU-27's Gas consumption by sector | 0.22604 | 0.29596 | 0.34593 | 0.0096713 | 0.1224
Chart: EU-27's oil consumption by sector
| Industry | Transport | service | residence | other
 | 0.22901 | 0.62993 | 0.023392 | 0.071814 | 0.045853

## Slide 12: Need preparedness for next winter
Note: Russian gas supply which has already reduced has been assumed to gradually shut off by November 2022
Source: Estimated based on Bruegel’s data on gas imports in 2022 first semester, Eurostat’s data of natural gas demand, Historic minimum data from ENTSO-G
80 % storage along with 15 % national demand reduction plan of the EC would ensure a minimum 18 % storage level by March 2023 even if Russia cuts off full supply
What could be done?
Rapid heat pump deployment
Energy savings/efficiency measures
Accelerate RES, Delayed Nuclear phase out, Gas switching
Industrial Demand Reduction
Ensure sufficient LNG infrastructure
EU members have begun filling their storages. As of end-August they were 80 % full and is well on track to achieve 80 % target for November as per SOS regulation
Chart: EU's gas storage level in case of full Russian gas cut off
| 44866 | 44896 | 44927 | 44958 | 44986 | 45017 | 45047 | 45078 | 45108 | 45139
Historic minimum (2015-2020) | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19
storage level without demand reduction | 0.8 | 0.64089 | 0.43627 | 0.17645 | -0.0018421 | -0.14632 | -0.18471 | -0.17862 | -0.14117 | -0.11438
storage level with 15% demand reduction | 0.8 | 0.70049 | 0.56337 | 0.37934 | 0.2646 | 0.17861 | 0.18279 | 0.22478 | 0.29343 | 0.35301
Without member states implementing demand reduction measures, EU’s gas storage could go empty

## Slide 13: 2. Power Sector in 2021 Why electrification is a solution for decarbonisation and energy security of the EU? Power sector has decarbonised dramatically in recent years and will be carbon neutral between 2035 and 2040 We needed two revolutions, electricity to decarbonise and sectors to electrify. The first revolution is well under way Focus now should be on the second revolution, electrifying as much as possible
13

## Slide 14: Electricity Demand rebounded back to 2019 levels
Covid 19 caused a sharp drop in electricity demand in 2020 which recovered after the crisis started receding
There was a sharp increase in electricity demand in 2021 after the peak covid crisis in 2020. It’s now back to 2019 level
Chart: 
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Demand (TWh) | 2866.73 | 2895.67 | 2921.91 | 2922.74 | 2881.49 | 2781.57 | 2877.06
Source: Ember-Climate based on ENTSO-E

## Slide 15: Fossil share in the generation still below 2019 levels
Chart: 2019
| Nuclear | Fossil | Renewables
2019 | 26.6 | 39.4 | 34
Chart: 2020
| Nuclear | Fossil | Renewables
2020 | 24.8 | 37.1 | 38.2
Chart: 2021
| Nuclear | Fossil | Renewables
2021 | 25.5 | 37.2 | 37.2
Chart: 2030
| Nuclear | Fossil | Renewables
2030 | 15 | 15 | 70
Electricity generation mix (%)
Source: Ember-Climate based on ENTSO-E, EC’s 2030 climate target impact assessment for 2030
Electricity generated from fossil fuels increased by 4% (+43 TWh) in 2021 compared to the 2020 levels which was a special year due to covid. The electricity demand rebounded to the 2019 levels after the covid 19 recovery. This increase along with reduced wind output caused the fossil fuel based electricity to increase. However, the overall fossil share (37%) in the electricity generation is still below the 2019 levels. At the same time, rise in gas prices caused the coal share to increase by 2% in 2021. EU decarbonisation ambitions require 85 % electricity to be carbon free by 2030
Notes: +4% rise in fossil fuel electricity. This was primarily due to increase in demand.

## Slide 16: Fossil Fuel share still below 2019 levels
Source: Ember-Climate based on ENTSO-E
Chart: Share of fuels in generation mix (%) EU-27
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Nuclear | 28.9 | 28.8 | 27.9 | 27.9 | 28.7 | 27.4 | 26.5 | 25.9 | 26.1 | 26.6 | 24.8 | 25.5
Fossil | 48.9 | 49.1 | 47 | 44.1 | 41.6 | 42.8 | 43.4 | 44.1 | 41.5 | 39.4 | 37.1 | 37.2
Renewables | 22.1 | 22.2 | 25.1 | 28 | 29.6 | 29.8 | 30.1 | 29.9 | 32.3 | 34 | 38.2 | 37.2
15.2 % Coal
3.8 % Other
18.2 % Gas
4 % Other
13.2 % Coal
19.9 % Gas
Notes: Last 8 years, RE share grew by 9 %. Next 8 years, it should grow 33 %

## Slide 17: Evolution of generation mix
Chart: Share of fuels in generation mix (%) EU-27
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Gas | 20 | 19.2 | 16.7 | 14.4 | 12.6 | 13.8 | 16.1 | 18 | 16.8 | 19.8 | 19.9 | 18.2
Coal | 23.7 | 24.9 | 25.6 | 25.2 | 24.5 | 24.5 | 22.8 | 21.8 | 20.4 | 15.7 | 13.2 | 15.2
Hydro | 12.6 | 10.6 | 11.4 | 12.7 | 13.1 | 11.7 | 11.9 | 10.1 | 11.8 | 11.1 | 12.6 | 12.1
Nuclear | 28.9 | 28.8 | 27.9 | 27.9 | 28.7 | 27.4 | 26.5 | 25.9 | 26.1 | 26.6 | 24.8 | 25.5
Other Fossil | 5.2 | 5 | 4.8 | 4.5 | 4.5 | 4.5 | 4.5 | 4.3 | 4.2 | 3.9 | 4 | 3.8
Other Renewables | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2
Bioenergy | 3.8 | 4.1 | 4.6 | 4.8 | 5.1 | 5.2 | 5.2 | 5.3 | 5.3 | 5.6 | 5.7 | 5.8
Solar | 0.8 | 1.6 | 2.4 | 2.9 | 3.3 | 3.5 | 3.5 | 3.7 | 4 | 4.4 | 5.2 | 5.5
Wind | 4.7 | 5.7 | 6.5 | 7.3 | 7.9 | 9.2 | 9.2 | 10.7 | 11 | 12.8 | 14.3 | 13.5
Share of gas remain stable over the last decade
Total electricity generation remains constant around 2900 TWh during the last decade
2953 TWh
2911 TWh
2906 TWh
2887 TWh
2828 TWh
2873 TWh
2895 TWh
2926 TWh
2914 TWh
2879 TWh
2768 TWh
2870 TWh
Source: Ember-Climate based on ENTSO-E
Notes: Share of renewable increases, coal decreases, gas remain stable.
Fossil fuel decrease because of coal decrease.
Total electricity generation remains stable (around 2900 TWh)

## Slide 18: Emissions Intensity has dropped dramatically and will continue to decrease
gCO2/kWh
Source: Eurostat (1990,2000,2019). Ember-Agora Report (2021), ALLBNK scenario of EC’s 2030 Climate Target Plan Impact Assessment (2030)
The emissions intensity of the power sector has dropped dramatically since 1990. Although there was a slight increase in emissions intensity in 2021, the emissions intensity in 2021 is still below 1990 level
394
253
241
77
1990
2000
2019
2021
2030
carbon neutral
2035-40
501
- 52 %

## Slide 19: Solar PV had a record year in installations but wind installation lagged
Note: The needed average is calculated according to the solar and wind targets under Fit for 55 package as mentioned in staff working document of the RePowerEU plan. The RePowerEU plan ambitions have not been accounted here
Source: Wind Europe, Solar Power Europe, ENTSO-E, Staff Working Document RePowerEU plan
Chart: Annual wind installation needed vs achieved (GW)
| Achieved in 2021 | Needed average
 | 15 | 31.1457
Chart: Annual solar installation needed vs achieved (GW)
| Achieved in 2021 | Needed average
 | 25.8 | 41.0687
Notes: Solar had a growth of 34% from last year. Wind installation grown from 10.4 GW to 15 GW. It is now 44 GW/year now for solar PV according to RePowerEU. So should we consider this.

## Slide 20: All technologies needed to reach 2030 targets
Source: Eurostat, ENTSO-E, Wind Europe & Solar Power Europe for historic, EC’s 2030 Climate Impact Assessment projections , Staff working document of RePowerEU & Eurelectric for 2030
Note: The 2030 figures for solar and wind capacity are the figures mentioned under FF55 in the staff working document associated with EC’s RePowerEU communication. The ambitious RePowerEU figures have not been considered here since it was not yet approved as a legislation during the preparation of this graph
Chart: Installed Capacity all techs (GW)
| 2020 | 2021 | 2025 | 2030
Wind offshore | 14.591 | 15.396 | 43.6644 | 87
Wind Onshore | 163.648 | 173.293 | 262.4961 | 382
Solar | 138.4427 | 160.382 | 257.99 | 530
Hydro | 150.7713 | 150.908 | 157.5482 | 165.8484
Other RE | 29.5927 | 30.975 | 32.7811 | 35.9696
Fossil Fuels | 346.411 | 330.882 | 299.8233 | 261
Nuclear | 106.007 | 97.74 | 95.1889 | 92
In the next 8 years, growth in renewable capacities has a pivotal role in EU’s decarbonisation. The role of other technologies in ensuring reliable power supply should not be forgotten. To enable the power industry to deliver cost-efficient, carbon-neutral, energy well before mid-century, the revision of the RED directive, the streamlining of permitting procedures and the adoption of an electrification strategy are essential
Notes: These numbers will go even up if we consider RePOWEREU. 600 GW for solar.

## Slide 21: 70 % of RE needed will be connected to the distribution grids
Source: ENTSO-E, Wind Europe, Solar Power Europe, Eurelectric connecting the dots study
Chart: Evolution of power generation capacities in the EU-27
| 2021 | 2030
Fossil Fuels | 330.882 | 261
Nuclear | 97.74 | 92
Other RES | 197.279 | 280.818
Onshore Wind | 173.293 | 374
Solar | 160.382 | 380
By 2030, we expect to see an addition of 670 GW of renewables in the EU-27–70% of which will be connected at distribution level

## Slide 22
Source: ACER MMR – Energy retail and Consumer protection Volume
12 member states achieved 80 % smart meter roll out. It was up to the member states to fix this as a target according to national cost benefit analysis. There are a few member states who had this target who did not achieve. Some delays are expected in the future. The 80 % smart meter roll achievement shows disparity among member states with some overachieving and some underachieving
Smart meter rollout at 51 % by 2020
Status of the roll-out of electricity smart meters – 2020 (%)
22

## Slide 23: 3. State of play of electrification Electrification is yet to kick off in the entire economy .Overall, the electrification has been constant in the past decade. However, in specific sectors like road transport and heating, electrification is kicking off. But still there are miles to go. The REPowerEU strategy is clear, we need to electrify more and now!
23

## Slide 24: Electrification rates are far too slow. Need to pick-up
Source: Eurostat (2010-2020), Eurelectric’s decarbonisation scenarios & EC’s 2030 Climate Target Plan Impact Assessment (2030 REG &MIX)
24
Quicker electrification is essential to European decarbonisation. Looking at 2019 and 2020, the pace needs to urgently pick up. Eurelectric believes that an electrification rates as high as 34 % by 2030 is possible
Chart: Electrification of EU economy (%)
| 2010 | 2015 | 2020 | 2025 | 2030
Electrification (%) | 22.18 | 23.16 | 23.15 | 23.31 | 23.5264
EC's projection 30% | 30
Eurelectric 34% | 34


## Slide 25
Electrification varied across the sectors
Source: Eurostat (2010-2020) & EC’s 2030 Climate Target Plan Impact Assessment (2030), average REG-MIX-CPRICE-ALLBNK
25
Notes: Keep this one

## Slide 26: 66% growth in EV car sales in the EU-27
Source: European Alternative Fuels Observatory
EV car sales saw a tremendous 66 % growth in 2021 compared to 2020 sales. What is even more impressive is that the annual EV car sales grew by 349 % between a span of last two years (2019-2021). However, when looking at the overall passenger car fleet, EV cars still represent only 1.61 % of the total
Chart: Annual EV car sales in the EU-27 (Thousands of units)
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
BEV | 0.802 | 8.13 | 12.802 | 21.231 | 31.025 | 48.457 | 53.147 | 82.669 | 131.939 | 247.789 | 535.836 | 873.56
PHEV | 0.002 | 0.329 | 8.025 | 24.922 | 25.485 | 71.186 | 65.387 | 86.446 | 108.197 | 139.463 | 510.231 | 865.595

## Slide 27: Road Transport - 2 in 11 cars sold in 2021 were EVs
Chart: EV share in total car sales in the EU-27 (%)
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2030 forecast*
BEV | 0.4 | 0.7 | 1 | 1.9 | 5.3 | 8.9 | 40
PHEV | 0.5 | 0.7 | 0.8 | 1.1 | 5.2 | 8.9 | 20
Source: European Alternative Fuels Observatory for historic figures, T&E for 2030
*2030 forecast takes into account the CO2 emissions standard ambitions under Fit for 55 package
Two in 11 cars sold in 2021 were EVs. The annual EV car sales grew by 349 % between a span of last two years (2019-2021). However, when looking at the overall passenger car fleet, EV cars still represent only 1.61 % of the total

## Slide 28: 75 % EV car fleet concentrated in 5 member states
Most of the EV car fleet is concentrated in a few EU member states which shows that EV growth is yet to pick up in many member states
Source: European Alternative Fuels Observatory
Notes: These numbers have changed -> should be updated

## Slide 29: EVs per thousand inhabitants show large contrast between member states
Chart: EVs per thousand inhabitants
| SE | LU | NL | DK | FI | BE | DE | AT | FR | PT | IE | MT | IT | ES | SI | HU | EE | LT | CZ | SK | EL | LV | CY | RO | HR | PL | BG
EVs per thousand inhabitants | 31.2962 | 27.955 | 21.749 | 20.9222 | 18.0312 | 15.4502 | 15.251 | 11.8808 | 10.566 | 9.0632 | 7.4609 | 5.3188 | 4.0139 | 3.3583 | 3.0511 | 2.0164 | 2.0136 | 1.5713 | 1.44 | 1.038 | 0.94942 | 0.91643 | 0.89187 | 0.87464 | 0.83634 | 0.77484 | 0.47341

## Slide 30: Publicly accessible charging stations growing but many more needed
Source: European Alternative Fuels Observatory, 2030 projection based on EC’s AFIR impact assessment study. The projection based on member states’ plans would be less ambitious
Note: 2030 projection is based on EC’s AFIR impact assessment study. The projection based on member states’ plans would be less ambitious
Chart: Number of public charging station in the EU-27
| 2011 | 2020 | 2021 | 2030
Charging Stations | 2.392 | 215.616 | 338.191 | 3580
≈x11
There was 57 % growth in the public charging stations between 2020 and 2021. But this need to grow 11 times to achieve the 2030 ambition

## Slide 31: 75 % public charging stations concentrated in 6 member states
Most of the charging stations concentrated in a few EU member states
Source: European Alternative Fuels Observatory

## Slide 32: Public charging points per 10,000 inhabitants show large contrast between member states
Chart: Public recharging points per 10,000 inhabitants
| Netherlands | Slovenia | Austria | Sweden | Luxembourg | Belgium | Denmark | Finland | France | Germany | Italy | Portugal | Slovakia | Hungary | Spain | Latvia | Croatia | Czech Republic | Ireland | Malta | Estonia | Bulgaria | Poland | Cyprus | Romania | Lithuania | Greece
Recharging points/10000 | 52.3235 | 26.3747 | 19.4377 | 19.3946 | 16.3109 | 12.9234 | 10.3232 | 9.8375 | 8.0669 | 7.5377 | 4.5441 | 3.7937 | 2.9813 | 2.9722 | 2.6223 | 2.5471 | 2.3751 | 2.1883 | 2.1438 | 1.9285 | 1.4877 | 0.99306 | 0.73754 | 0.68862 | 0.64854 | 0.64623 | 0.5911
Source: European Alternative Fuels Observatory

## Slide 33: Electrification in other segments picking up, but enabling framework not enough
Chart: PEV Buses new registrations in EU-27
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
BEV | 0 | 0 | 11 | 7 | 15 | 16 | 5 | 38 | 417 | 458 | 644 | 1514 | 1658 | 2164
PHEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 21 | 32 | 14 | 13 | 31 | 107
Chart: PEV Heavy Duty new registrations in EU-27
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
BEV | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 34 | 9 | 10 | 331 | 398 | 288
PHEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Chart: PEV LCV fleet in EU-27
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
BEV | 253 | 254 | 309 | 7669 | 9527 | 13669 | 19049 | 28610 | 40926 | 52026 | 76286 | 97363 | 120711 | 166180
PHEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 117 | 1054 | 2599
Chart: LEV fleet in EU-27
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
BEV | 312 | 460 | 4646 | 6230 | 10364 | 14731 | 20055 | 32734 | 74271 | 90110 | 127471 | 180182 | 252426 | 346200
PHEV | 0 | 0 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Source: European Alternative Fuels Observatory
Notes: Change in LEV fleet-> to be updated

## Slide 34: Heat pump stock is growing but sales should double in 5 years
Source: EHPA for historic data, RePowerEU and EHPA for 2026 projection, Eurelectric estimate for 2030 based on annual deployment target in the RePowerEU
*The data is from 21 European countries. The marker share is insignificant in the other EU states
Chart: Cumulative Heat Pumps Stock (milion units)
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
 | 3.7 | 4.5 | 5.3 | 6.8 | 7.5 | 8.3 | 9.2 | 10.3 | 11.6 | 13.4 | 14.8 | 17 | 33.5 | 50
Chart: Heat Pump Sales (Thousand Units)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
 | 893 | 1000 | 1100 | 1300 | 1500 | 1600 | 2000 | 4000
The heat pump sales which grew by 25 % in 2021 to 2 million should double to 4 million in 2026 according to the RePower EU plan of the EC. Based on the current stock, this annual deployment target translate to a cumulative installation of 50 million heat pumps by 2030.
Reaching 50 million cumulative stock by 2030 means tripling the current stock of 2021

## Slide 35: Heat Pump sale grew by 25 % but 50 % of the market is concentrated in 3 countries
Source: European Heat Pumps Association
Chart: 2021 heat pump sales in 21 European countries (Thousand units)
| FR | IT | DE | ES | SE | FI | NO | PL | DK | NL | UK | CH | AT | PT | BE | LT | CZ | EE | IE | HU | SK
2021 heat pump sales | 537.111 | 382.939 | 177.5 | 148.813 | 133.498 | 129.375 | 125.028 | 104.66 | 74.267 | 70.924 | 42.779 | 40.935 | 38.32 | 32.618 | 27.966 | 25.13 | 25.074 | 20.632 | 19.321 | 7.361 | 6.652

## Slide 36: Road to heating electrification: 7 MSs adopted bans on gas boilers
7 countries adopted national bans on gas boilers1 that is encouraging for heating electrification
At EU level two main proposal were made
  2029 ban on ‘stand-alone’ fossil fuel boilers sales – EU Save Energy Communication
  2025 ban on fossil-fuel boiler subsidies- EU Save Energy Communication
Chart: Share of gas consumption in residential sector (2020)
| Cyprus | Malta | Norway | Sweden | Finland | Bulgaria | Estonia | Latvia | Portugal | Slovenia | Greece | Lithuania | Denmark | Poland | Ireland | Croatia | Austria | Spain | Czech Republic | France | Romania | Germany | Belgium | Hungary | Italy | Luxembourg | UK | Netherlands
 | 0 | 0 | 0 | 0 | 0.01 | 0.04 | 0.06 | 0.1 | 0.1 | 0.1 | 0.1 | 0.12 | 0.14 | 0.18 | 0.19 | 0.21 | 0.21 | 0.24 | 0.26 | 0.28 | 0.34 | 0.38 | 0.39 | 0.51 | 0.52 | 0.5201 | 0.63 | 0.68
Countries in green have adopted ban
Source: Enel based on Eurostat, institutional and governmental information
1) Austria: no legislation yet but Government proposal approved(preponing gas ban in new buildings to 2023 from original proposal of 2025

## Slide 37
REPowerEU – Additional RES capacities and grid investments
Source: REPowerEU – Staff Working Document
Chart: Additional RES capacities by 2030 for reaching the REPowerEU objectives (GW)
| Installed wind capacity (GW) | Installed solar PV capacity (GW)
Fit for 55 | 469 | 530
Additional REPowerEU | 41 | 62
Chart: Electricity grid investments over the decade (bn€ 2022)
| Electricity grid investments over the decade (bn€ 2022)
Fit for 55 | 554.4
Additional REPowerEU | 29.4
37
Overall the combined wind and solar capacity needed by 2030 would be 1102 GW as per RePowerEU. This is more than 3 times the current solar and wind capacities in the EU
Grids, particularly, the distribution grids are the backbone of the digital and energy transition. They connect the dots by integrating the majority of renewables, enabling the creation of new services for consumers, and ensuring a reliable electricity flow. Investments in them must more than double from the past decade’s average investments

## Slide 38
REPowerEU – Electrification acceleration
Additional 4.4 million ton H2
≈+219 TWh electricity
REPowerEU
Fit for 55
Additional electrolyser capacities
Source: REPowerEU – Staff Working Document
REPowerEU
Fit for 55
Additional 1.6 million heat pumps
≈+6.4 TWh
electricity
Additional installed heat pumps in residential and services
≈+225.4 TWh electricity demand addition in 2030
Note: An average consumption of 4000 kWh considered for 1 HP unit. 67 % electrolyser efficiency considered for electricity calculation for hydrogen
10 Mton H2 ambition in RePowerEU plan would need around 497 TWh electricity by 2030
38

## Slide 39: 4. Bottlenecks & State of Play of Technology Costs For accelerated electrification, many bottlenecks have to be overcome. Of concern, we are seeing permitting delays, investment challenges and major supply chain concerns for renewables. To reach our REPowerEU targets, these bottlenecks must be overcome. Huge investments in distribution grids and generation assets are needed
39

## Slide 40: The EU has four-times more wind capacity in permitting than under construction
Source: Energy monitor based on global data,, Global Wind Energy Council, Solar Power Europe for other data
Permitting can sometimes take 8 years while construction usually takes around 2. The average permitting time for wind and solar projects in the EU is 4-5 years

## Slide 41: Permitting issue is universal but EU is the laggard
Permitting is a universal issue but EU’s wind pipeline (81 %) is struck in permitting than in the US , China and India
Source: Energy monitor based on global data

## Slide 42: Investments in distribution grids increased but much more needed
Source: Historic figures estimated based on data from IEA WEO 2022 and email correspondence with IEA, 2021-30 data from Eurelectric’s connecting the dot study, 2031-50 data from EC’s 2030 climate target impact assessment
Distribution grid infrastructure is a key pillar for EU’s decarbonisation. 70 % of the renewables installed by 2030 will be connected to the distribution grids that translates into huge investment requirements. Annual investment that was achieved in 2021 must grow by more than 22 % in the coming years to achieve the 2030 targets. RePowerEU plan would raise the projected investment figures presented here further
Chart: Investments in distribution grids in EU-27 (2021 billion Euro)
| 2020 | 2021e | 2021-2030 | 2031-50
Investments in distribution grids | 28.4096 | 30.8587 | 37.74 | 61.05

## Slide 43: Investments in power generation increased but much more needed
Source: Historic figures estimated based on data from IEA WEO 2022 and email correspondence with IEA, 2031-45 data from EC’s 2030 climate target impact assessment
Investments in power generation grew during 2020-21. However, the average investment should grow further by 31 % to reach the average investments required for 2021-45 period according the EC’s 2030 Climate Target Plan Impact Assessment Projections. This will be even more when RePowerEU plans are taken into account
Chart: Power generation investments in EU27 (in billion 2021 Euro)
| 2020 | 2021e | EC-2021-45 avg
 | 55.0435 | 64.4127 | 83.8494

## Slide 44: Excess taxes & levies
Chart: Components of retail electricity bill in the EU-27 (2021)
| Taxes | Energy | Network
 | 0.367 | 0.366 | 0.267
Taxes and levies burden European households seeking to electrify and decarbonise their final consumption
Lessening the burden on electricity prices would enable more market incentives for electrification-based decarbonisation solutions
Source: Eurostat (nrg_pc_204)
Note: Due to recent energy price rise, this composition might have changed. 2021 data only provided since Eurostat was available only for 2021

## Slide 45: Negative electricity prices shows the need for flexibility
Occurrence of negative day ahead electricity prices will increase as RE penetration increases without sufficient storage and flexible resources. Badly designed incentive schemes can also cause negative prices. In 2021, the occurrence decreased compared to the special year 2020 where there was a low demand and high wind. However, the occurrence is still at a higher level than the 2019 levels. Negative prices need also to be seen as the need for flexibility in the energy system but it is still a challenge for investors. Negative prices will reduce when there are no badly designed incentive schemes and when there is sufficient storage and flexibility
Chart: Occurrence of negative prices (EU-27+UK+NO+CH))
| 2018 | 2019 | 2020 | 2021
occurrence of negative prices (EU-27+UK+NO+CH)) | 404 | 925 | 1923 | 952
Source: ENTSO-E transparency platform

## Slide 46: Renewables already cheaper than fossil fuels
Chart: LCOE of power generation technologies in the EU for IEA's stated policies scenario
| 2020 | 2030 | 2050
Nuclear | 13.2 | 11 | 9.68
Coal | 14.96 | 16.28 | 17.6
Gas CCGT | 9.68 | 12.32 | 14.96
Solar PV | 4.84 | 3.52 | 2.64
Wind onshore | 4.4 | 3.96 | 3.96
Wind offshore | 6.6 | 3.96 | 3.08
Source: IEA’s World Energy Outlook 2021
* Stated Policies Scenario of IEA reflects current policy settings based on a sector-by-sector assessment of the specific policies that are in place, as well as those that have been announced by governments around the world

## Slide 47: Capital Costs for technologies
Chart: Capex of power generation technologies in the EU in the stated policies scenario
| 2020 | 2030 | 2050
Nuclear | 5808 | 4488 | 3960
Coal | 1760 | 1760 | 1760
Gas CCGT | 880 | 880 | 880
Solar PV | 739.2 | 484 | 378.4
Wind onshore | 1320 | 1249.6 | 1205.6
Wind offshore | 3062.4 | 1988.8 | 1513.6
* Stated Policies Scenario of IEA reflects current policy settings based on a sector-by-sector assessment of the specific policies that are in place, as well as those that have been announced by governments around the world
Source: IEA’s World Energy Outlook 2021

## Slide 48: Supply chain issues, price rise of critical minerals & metals pushing the clean energy technology cost up
Solar PV module cost
+9 %
+16 %
Wind Turbine cost
+20 %
Lithium-ion battery pack cost
Copper
Aluminium
Nickel
Cobalt
Lithium
2020
2021
+738 %
+156 %
+94 %
+76 %
+34 %
Price rise of minerals and metals along with supply chain bottlenecks is increasing the clean energy technology costs
Cost reduction efforts via technology innovation, efficiency improvements and economies of scale are needed. Stimulating the sustainable domestic production of critical minerals & metals and manufacturing of clean technology components in the EU is needed
Cost rise from Jan 2021- March 2022
Source: IEA ,Costs shown are global average
Price increase from 2020-2021

## Slide 49: 5. Regulatory Framework Of concern, many Member States are making distortive regulatory interventions These risk undermining the internal electricity market. A recent report from ACER has shown the benefit of the IEM to customers, saving them 34 billion last year. The IEM needs to be protected
49

## Slide 50: Distorting current market design will impact the European electricity market integration
The benefits of cross-border electricity trading amounted to around 34 billion Euros in 2021. More than one third of these benefits correspond to the last quarter of 2021, when power prices were at their highest
At least 10 MSs are discussing/planning/enacting distortive market interventions
This will not only impact investments but also the EU cross border electricity trade
Chart: Monthly welfare benefits (Billion Eur) from cross-border electricity trade in 2021
| 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531
Billion Eur/Month | 2.8 | 2.85 | 1.9 | 1.5 | 2 | 2.2 | 2.8 | 2 | 2.9 | 2.9 | 3.6 | 6.6
Source: ACER

## Slide 51: Recommendations
51

## Slide 52: Policy Recommendations
Reduce in the long run the dependence on fossil fuels through electrification of buildings, transport & industry and through further energy savings
Ensure sufficient gas storage and gas supply diversification for next winter, as short term & emergency measures
Protect customers in short term against energy price surge through targeted support measures, reduction of taxes and levies and energy efficiency incentives
Facilitate permitting and remove barriers for renewables, storage and grid infrastructure
Ensure necessary investment in grid infrastructure by modernising tariffs and ensuring access to EU funds
Reduce taxes & levies on electricity
Avoid market interventions undermining investments security and the internal electricity market & ensure long term investment signals
Boost deployment of charging points for EVs

## Slide 53: Data on non-EU member countries
53

## Slide 54: Turkey
Chart: Share of fuels in generation mix (%)
| 2010 | 2011 | 2022 | 2023 | 2024 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Fossil Share | 73.6 | 74.7 | 72.8 | 71.1 | 79.1 | 68 | 67 | 70.6 | 67.8 | 56.3 | 57.9 | 64.7
Renewables Share | 26.4 | 25.3 | 27.2 | 28.9 | 20.9 | 32 | 33 | 29.4 | 32.2 | 43.7 | 42.1 | 35.3
Nuclear Share | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
375 gCO2/kWh
in 2020
Emissions intensity of the electricity generation saw a 12.55 % decrease compared to 2015
Electrification (%) in 2020
20.5 %
in 2020
Source: Ember-Climate for share of fuels ,Enerdata for electrification, climatetransparency.org for emissions intensity, capacity
Chart: Installed Capacity in 2020 (MW)
| coal & lignite | oil | Gas | Nuclear | Hydro | Wind | Solar | Bioenergy
 | 20324 | 95.3 | 26071 | 0.01 | 30984 | 8832 | 6667 | 1492

## Slide 55: Switzerland
19.6 gCO2/kWh
in 2020
Emissions intensity of the electricity generation
Electrification (%) in 2020
27.8 %
in 2020
Source: Enerdata
Chart: Share of fuels in generation mix (%)
| 2010 | 2011 | 2022 | 2023 | 2024 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Fossil Share | 1.61 | 1.57 | 1.382 | 1.14 | 0.753 | 0.983 | 1.423 | 1.217 | 0.939 | 0.922 | 3.87
Renewables Share | 59.574 | 57.078 | 62.176 | 61.709 | 60.622 | 64.853 | 64.844 | 66.152 | 61.877 | 62.92 | 63.383
Nuclear Share | 38.8 | 41.3 | 36.4 | 37.2 | 38.6 | 34.2 | 33.8 | 32.6 | 37.1 | 36.2 | 32.7
Chart: Installed Capacity in 2020 (MW)
| coal & lignite | oil | Gas | Nuclear | Hydro | Wind | Solar | Bioenergy
 | 119 | 161 | 296 | 2960 | 17536 | 87.2 | 2973 | 380

## Slide 56: Norway
18.7 gCO2/kWh
in 2020
Emissions intensity of the electricity generation
Electrification (%) in 2020
48.3 %
in 2020
Source: Enerdata
Chart: Share of fuels in generation (%)
| 2010 | 2011 | 2022 | 2023 | 2024 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Fossil Share | 4.074 | 3.313 | 1.917 | 1.97 | 1.971 | 1.921 | 1.868 | 1.834 | 1.971 | 1.94 | 1.282
Renewables Share | 95.881 | 96.642 | 98.051 | 98.062 | 97.994 | 98.074 | 98.114 | 98.128 | 97.998 | 98.017 | 98.699
Nuclear Share | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: Installed Capacity in 2020 (MW)
| coal & lignite | oil | Gas | Nuclear | Hydro | Wind | Solar | Bioenergy
 | 50 | 12.5 | 618 | 0 | 33003 | 3934 | 152 | 126

## Slide 57: United Kingdom
160 gCO2/kWh
in 2020
Emissions intensity of the electricity generation
Electrification (%) in 2020
20.9 %
in 2020
Chart: Share of fuels in generation mix (%)
| 2010 | 2011 | 2022 | 2023 | 2024 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Fossil Share | 75.76 | 70.348 | 67.996 | 64.178 | 60.77 | 53.005 | 52.512 | 48.342 | 45.676 | 43.874 | 39.061
Renewables Share | 7.96 | 10.856 | 12.614 | 16.049 | 20.34 | 26.09 | 26.11 | 30.67 | 34.59 | 38.57 | 44.77
Nuclear Share | 16.3 | 18.7 | 19.4 | 19.7 | 18.9 | 20.9 | 21.3 | 21 | 19.8 | 17.5 | 16.2
Source: Enerdata
Chart: Installed Capacity in 2020 (MW)
| coal & lignite | oil | Gas | Nuclear | Hydro | Wind | Solar | Bioenergy | Other
 | 7197 | 3584 | 32175 | 9261 | 4367 | 25653 | 13562 | 7892 | 22.4

## Slide 58: Iceland
28 gCO2/kWh
in 2021
Emissions intensity of the electricity generation
Source: https://nea.is/the-national-energy-authority/energy-data/data-repository/ for installed capacity and generation mix, electricity map for emissions intensity
99.99 % of electricity generation from RE
Chart: Installed Capacity (MW)
| Hydro | Geothermal | Wind | Fossil Fuel
 | 2106.934 | 755.04 | 1.8 | 71.97